## Sheet1
Q&A Session for IRP MAG Webinar – Proposed Busbar Mapping Methodology Updates
Date: Tuesday, July 18, 2023
Question |  | Response
What's the typical/expected timing for step 5, assuming the TPP portfolios will be transferred to the CAISO in Feb 2024? | Pushkar Wagle ( pushkarwagle@flynnrci.com ) - 9:24 AM | So for the 23-24 TPP we realesed drafted mapping results with the TPP ruling which came out in early October 2022 and then final mapping results with the PD for those portfolios in early January of 2023. So we don't know for certain timing for this cycle but one can assume similar timing. Noting though that the draft mapping results were after only a few intereations of the mapping.
p.17: Are any weights/priorities assigned to the criteria categories to determine the five levels of criteria alignment? | Pushkar Wagle ( pushkarwagle@flynnrci.com ) - 9:34 AM | A more full answer to my quick verbal response, is that we have proposed thresholds for the five levels of alignment for each criteria, that are specific to the criteria.
Does the land-use screen scoring take into account if a location qualifies for multiple environmental/consevation layers? For example, a location classified as biological and high intactness is less favorable than just biological impact layer? | Zoe Harrold, GPI ( zharrold@clearhorizonsconsulting.com ) - 9:47 AM | No, the land-use screen development did not take into account if multiple layers identify the same region. In the land use evaluation for busbar mapping, we will be reporting many of the environmental characteristics' percent covers in the area around a substation (in the resource potential basemap). So, we will be able to capture if multiple factors contain large areas of high value in the area around a substation.
Do the buffer distances include assessments for line losses and/or imapcts of cost on portfolio optimization? | Zoe Harrold, GPI ( zharrold@clearhorizonsconsulting.com ) - 10:04 AM | So we don't factor in line losses, but we try to factor in the addiitonal costs to interconenction of a longer gen-tie. That's done in the interconenction criteria analysis side of things, which we'll discuss later in the presentation.
Hello, I have a question about how the Resolve assumption limiting OOS Wind in 2035 affects busbar mapping. Will that assumption affect in-CAISO upgrades studied in the 2024-25 TPP? | Brian Biering ( bsb@eslawfirm.com ) - 10:04 AM | It has the potential to. The RESOLVE assumptions are used for the development of TPP portfolios by the CPUC and CAISO studies the policy driven transmission needs of the mapped resources of the CPUC developed portfolio.
ave the highly granular land use screens and optimal low parcelization areas for busbar mapping been reaggregated back up to the more coarse regional resource potential limits to assess if the portfolio optimization modeling and the busbar mapping resource potential align | Zoe Harrold, GPI ( zharrold@clearhorizonsconsulting.com ) - 10:26 AM | The CEC "Core" land use screen data that informs the Technical Resource Potential is incorporated into the resource potential limits from which the capacity expansion / portfolio optimization model can select. The regional resource potentials presented at the June Inputs & Assumptions MAG webinar for the IRP proceeding include this data (draft). The parcelization data is not currently used in the capacity expansion model.
Q: Can you please clarify what you mean by "pollutant and non-attainment lists"? | Nina Robertson Earthjustice ( nrobertson@earthjustice.org ) - 11:03 AM | These are refering the the Non-attainment zones referenced elsewhere in the methodology which are taken from the EPA Green Book Data
Slide 34 - do resources have to be in an LCR area, or is that just one of several factors needed to be considered preferable? (If not in an LRA, how does a resource truly -- or theoretically -- benefit a DAC? i.e., actually improve air quality?) | Nancy Rader ( nrader@calwea.org ) - 11:06 AM | This question was answered verbally in the webinar. No resources do not have to be in an LCR area or the other criteria in this catgory. The thresholds are desgined to have these criteria be a priority in certain situations and not a requirement for all resources. Resources mapped outside of these areas are not marked as non-compliant with the criteria.
Q: p.39: We noticed that several ADNUs identified by the CAISO in the 2023 White Paper are lumpy. For example, the 500kV Delevan project at $2,852 million accommodates 8,645MW of FCDS resources. How would the CPUC IRP team utilize this information? Would it include a partial upgrade cost to add, say, 3,000MW to address the Vaca Dixon-Tesla 500kV Line constraint? | Pushkar Wagle ( pushkarwagle@flynnrci.com ) - 11:08 AM | This Question was partially Answered verbally in the webinar about transmisison upgrade application in busbar mapping. In Portfolio Development: The IRP team implements the CAISO upgrades as linear decision variables in the expansion model. The cost and incremental capability data, as well as financing assumptions, are used to calculate a levelized $/MW-yr value. The model can select as much of the upgrade as it wants (up to the incremental capability total), with each MW selected incurring the same $/MW-yr cost.
Q: p.39: Has the IRP team given any thought to seeking guidance from the CAISO on potentially adding resources beyond the existing capabilities plus the identified ADNU-driven capabilities? | Pushkar Wagle ( pushkarwagle@flynnrci.com ) - 11:08 AM | This question was answered verbally in the webinar. Yes the busbar mapping working does seek guidance on capabilities beyond identified ADNU, though note that this infromation typically high level implications and is not project specific. CAISO can aslo explore potential upgrades in the TPP.
Q: Re: CPUC slide 38 (second bullet), how do you assess congestion? And how do you seek to limit it, just in BESS siting? | Ian Kearney ( ian@goldenstatecleanenergy.com ) - 11:10 AM | Curtailment is used as a proxy for congestion in this regard. The busbar mapping analysis uses information provided by the CAISO on curtailment levels within the different regions and a weight is assigned to substations based on relative curtailment levels.
Q: Slide 40 - Why are we using HSN values for wind that greatly exceed our CPUC QC values? That results in "using up" more FCDS than we are getting credit for. (This critical issue -- for solar and storage as well -- is being considered in the CAISO deliverability reform process and deserves cpuc attention.) | Nancy Rader ( nrader@calwea.org ) - 11:12 AM | Busbar mapping utilizes the output factors include in the CAISO white paper and consistent with how the CAISO will study the resources in the TPP. We seek to align with the TPP assumptions since that is the primiary purpose of these portfolios and the mapping. Staff recognize there are ongoing efforts and processes that are looking at the differentials mentioned
Q: How is the cost-effectiveness of TX upgrades referenced in Slide 41 calcuoated? What are the benefits used in the C/E calculation? | Tom Beach ( tomb@crossborderenergy.com ) - 11:14 AM | This question was answered verbally in the webinar. Staff take a more qualitative approach looking at high-level cost implications. We do not implemnt detailed cost-benefit analysis.
Q: Does the mapped busbar have a year when will it be in use based on projected resource coming online? Is it possible to find a cut-off date for up-gradation required to accommodate the mapped resources? Does the year of upgradation been considered into TPP? | Abhishek ( Abhishek@cpuc.ca.gov ) - 11:24 AM | We do factor in estimated construction times and online dates when mapping and seek to only rely on upgrades beyond their estimate construction time.
Q: Can you clarify - under higher confidence - whether in-dev resources need to be both contracted *and* under development to be considered? First bullet under Higher Confidence Slide 48. | Shannon Eddy ( shannon@largescalesolar.org ) - 11:29 AM | This question was answered verbally in the webinar. The in-development resources can either contracted by LSE or identifeid as under construction by PTOs, they do not need to be both.
Q: For retirements, slide 36 states that retirement assumptions are still under development. When will final crtieria be completed? | Nina Robertson Earthjustice ( nrobertson@earthjustice.org ) - 11:38 A | Staff are working to complete the criteria assumptions for the final release of the methodology later in Q3. This wont be to inform portfolio development itself but only the busbar mapping effort. Staff are seeking to enable additional comment periods on the methdology from stakeholders during the mapping process.
Q: If updated Thermal Generator Retirement assumptions are still under development, will there be a future publication and comment solicitation for that component of the methodology? | Lambert, Christian ( christian.lambert@cpuc.ca.gov ) - 11:47 AM
Q: When will we see the results of this analysis and will we be able to make adjustments after that? It is difficult to predict the effects of all of these assumptions and criteria. | Nancy Rader ( nrader@calwea.org ) - 11:56 AM | Staff are seeking to allow stakeholders to comment on the mapping results during the process. In the previous 23-24 TPP staff were able to release draft mapping results in the CPUC's TPP portofliio Ruling for stakeholder review and formal feedback.