## Slide 1: Resiliency & Microgrids Working Group Value of Resiliency Discussion Forum and Next Steps
Resiliency and Microgrids Team, Energy Division
July 29, 2021

## Slide 2: Resiliency Valuation Methodology III. Resiliency Scorecard (draft)
Resiliency Scorecard: Mitigation Measure Characteristics | Points | Score
Duration of backup – with no other inputs |  | 
4 hrs | 1 | 
8 hrs | 2 | 
24 hrs | 3 | 
48 hrs (2 days) | 4 | 
96 hrs (4 days) | 5 | 
Indefinite | 6 | 
Load Capacity (which loads are backed up and how much load (Critical, Priority, Discretionary) |  | 
Critical |  | 
90 - 100% | 9 | 
50 - 90% | 8 | 
0 – 50% | 7 | 
Priority |  | 
90 - 100% | 6 | 
50 - 90% | 5 | 
0 – 50% | 4 | 
Discretionary |  | 
90 - 100% | 3 | 
50 - 90% | 2 | 
0 – 50% | 1 | 
Resiliency Scorecard: Mitigation Measure Characteristics | Points | Score
Fuel Availability |  | 
Onsite, intermittent | 3 | 
Onsite, produced | 3 | 
Piped infrastructure | 2 | 
Wires infrastructure | 2 | 
Transport | 1 | 
Emissions level – GHG and particulates |  | 
Non-GHG emitting | 4 | 
Meets CARB emission standards | 3 | 
GHG emissions < xxx | 2 | 
Cap n Trade | 1 | 
Resiliency Scorecard: Mitigation Measure Characteristics | Points | Score
Start-up/ islanding /isolation/ crossover transition time (intermittent downtime before specified backup is available) |  | 
0 - 1 min | 5 | 
2 - 5 min | 4 | 
5 - 30 min | 3 | 
30 - 120 min | 2 | 
< 120 min | 1 | 
Notification time/Advanced notice needed for backup available at specified load/duration |  | 
0 - 1 min | 5 | 
2 - 5 min | 4 | 
5 - 30 min | 3 | 
30 - 120 min | 2 | 
< 120 min | 1 | 
Blue Sky Services |  | 
Demand Response | 2 | 
Voltage/Frequency | 1 | 
Wholesale participation | 1 | 
Notes: We are not tying the scorecard to any compensatory or valuation outcomes. This tool, right now, is intended to be a preferential metric that reflects state policy goals and resiliency goals with a relationship to identified resilience targets that are user defined. We are thinking of it as a comparative tool of resiliency configurations. It needs use case applications and modeling. This is very preliminary and we'll be revisiting it later on in these discussions.