## Slide 1: PV-Paired Storage Projects Single Line Diagrams
Interconnection Discussion Forum
December 2019

## Slide 2: Overview
Current process
Process improvements
Implementation proposals

## Slide 3: Existing Practices – PV-Paired Storage
PG&E | SCE | SDG&E
Template diagram employed for standard NEM Custom diagram submitted for NEM-ST, NEM-MT, NEMA, and Expanded NEM | No template diagram for any scenario All projects require custom diagram be submitted | Template diagram employed for standard NEM Custom diagram submitted for NEM-ST, NEM-MT, NEMA, and Expanded NEM

## Slide 4: Standard NEM Template Diagrams
PG&E
SDG&E

## Slide 5: Process Improvements
Reduce deficiency rate
Existing equipment confirmed in application portal and existing utility records
Improved review timelines – batteries online quicker

## Slide 6: Implementation Proposals
Templates by scenario
  AC / DC coupled
  Uninterruptible power supply
  Standby generators
Templates by contractor or CSLB Number
Templates within sizing threshold (up to 30 kW)
Custom diagrams can still be submitted when necessary

## Slide 7: Sample Template Diagrams
Retrofit (Existing PV) AC Coupled
Standalone (No PV) AC Coupled

## Slide 8: Energy Storage Site Inspections
Interconnection Discussion Forum
December 2019

## Slide 9: Inspection Process
Occurs at utility’s discretion
Common when AC disconnect(s) included
Requires additional coordination between customer, contractor and utility

## Slide 10: Proposed Alternatives
Photos provided in place of duplicate inspections
Final building inspection record satisfies utility inspection
Acknowledge UL certified equipment
Visit site after storage device is operational

## Slide 11: Benefits to Removing Utility Inspection
Removes timeline for additional inspection to occur – quicker PTO
Improves customer experience – protected from shutoffs sooner

## Slide 12: Sample Inspection Photos