**Part I:**

**Pre-Application Reports Reporting:**

**a) Total since Rule 21 Revision in**

**September 2012**

**306**

**b) Total for 1st Quarter 2017:**

13

1. Number requested: 306
2. Number issued: 303

iii. Number currently in process: 0

iv. Number withdrawn (if any): 0

**Rule 21 Fast Track Reporting:**

1. **Rule 21 Fast Track applications received since 9/13/2012**
2. **Rule 21 Fast Track applications for First Quarter**

**Initial Review**

a. Number of Fast Track Applications received for **all** types of generating facilities:

**588\*[[1]](#footnote-1) 57**

From Rule 21 Reform Through 1Q 1Q 2017

b. Number of Fast Track applications received for exporting generating facilities only

(excluding Net Energy Metering and non-export):

**194 8**

From Rule 21 Reform to Through 1Q 1Q 2017

c. Number of Fast Track applications for exporting generating facilities that successfully passed Initial Review, where success is defined by passing all Initial Review screens:

**24 0**

From Rule 21 Reform Through 1Q 1Q 2017

d. Number of Fast Track Applications for exporting generating facilities currently being evaluated in Initial Review.

1

1Q 2017

e. Number of Fast Track applications for exporting generating facilities that failed Initial

Review:

i. If the total set out in B does not equal the totals set out in C + E, please explain why:

**127 8**

From Rule 21 Reform Through 1Q 1Q 2017

*For the 9/13/2012 to 1/17/2017: From the 194 Exporting Fast Track requests received since 9/13/2012, 24 passed the Initial Review screens, 40 projects withdrew prior to completing the Initial Review or were not deemed eligible (due to size), 127 failed the initial review screens, 1 are pending initial review results, and 2 requests is pending Deemed Complete*

f. Number of Fast Track Applications for exporting generating facilities for which a Results

Meeting following Initial Review has taken place:

**66 5**

From Rule 21 Reform to 1Q 1Q 2017

g. Please indicate the top three most frequently failed Initial Review screens[[2]](#footnote-2) in descending order.

1. Screen M (Aggregate generation 15% larger than line section peak load)

2. Screen N (Penetration Test)

3. Screen F (Short Circuit Current Contribution)

h. If possible, please write three recommendations describing how an interconnection customer might apply for Fast Track in a way that would avoid failing the top three most frequently failed screens:

1. Use SCE’s Interconnection maps and locate projects in green zones and in accordance with the available capacity as identified in the green zone;

2. Submit a Pre-Application Report Request for the proposed generator project;

3. Interconnect via non-export with certified technology.

**Supplemental Review**

i. Number of Fast Track Applications for exporting generating facilities that have requested

Supplemental Review after failing Initial Review.

**55 8**

From Rule 21 Reform Through 1Q 1Q 2017

j. Number of Fast Track Applications for exporting generating facilities currently being evaluated in Supplemental Review.

2

1Q 2017

k. Number of Fast Track Applications that have successfully passed Supplemental Review, where success is defined as passing all screens:

**41 5**

From Rule 21 Reform Through 1Q 1Q 2017

l. Number of Fast Track applications that successfully passed Supplemental Review and received a GIA[[3]](#footnote-3):

**23 0**

From Rule 21 Reform Through 1Q 1Q 2017

m. Number of Fast Track Applications that withdrew before supplemental review began:

**59 2**

From Rule 21 Reform Through 1Q 1Q 2017

n. Number of Fast Track projects that withdrew after supplemental review began[[4]](#footnote-4):

**10 1**

From Rule 21 Reform Through 1Q 1Q 2017

o. Please indicate the two most frequently failed Supplemental review screens:

Answer provided applies to both quarter review and from Rule 21 reform to 3/31/15:

1. Screen M (Aggregate generation 15% larger than line section peak load);

2. Screen N (Penetration Test).

p. If possible, please indicate 2 recommendations describing how a developer might request a fast track interconnection that would avoid failing the two most frequently failed supplemental review screens.

Please refer to answer provided for Part (h).

q. Number of Fast Track projects that signed GIAs:

**30[[5]](#footnote-5) 3**

From Rule 21 Through 1Q 1Q 2017

**Ombudsman Role and Dispute Resolution Reporting:**

a. Number of phone calls that the Ombudsman has received from September 2012 to date (calls related to Rule 21 issues that were within the Ombudsman’s responsibilities or function):

**8 5**

From Rule 21 Through 1Q 1Q 2017

b. Number of emails the Ombudsman has received from September 2012 to date:

**104 12**

From Rule 21 Through 1Q 1Q 2017

c. Number of cases that the Ombudsman took an active role in handling: (“active role” means the Ombudsman sought out information from another source to provide that information to an interconnection customer or other third party)

**44 10**

From Rule 21 Through 1Q 1Q 2017

d. Number of disputes initiated in writing by a Party that invokes Rule 21, Section K.2

Dispute Resolution Procedures (DRP).

**16 0**

From Rule 21 Through 1Q 1Q 2017

e. Number of disputes resolved within 45 calendar days of the original notice.

**10 0**

From Rule 21 Reform Through 1Q 1Q 2017

f. Number of disputes where an additional 45 days was sought for resolution (second part of original question e).

**4 0**

From Rule 21 Reform Through 1Q 1Q 2017

g. Number of disputes mediated by a member of the CPUC’s ALJ Division:

**1 0**

From Rule 21 Reform Through 1Q 1Q 2017

h. Number of disputes mediated by an outside third-party mediator:

**0 0**

From Rule 21 Reform Through 1Q 1Q 2017

i. Number of disputes in which a Formal Complaint has been filed at the CPUC and served on the IOU:

**2 0**

From Rule 21 Reform Through 1Q 1Q 2017

**Accounting of Exemptions from Rule 21 Interconnection Fees, Including the Value of Those**

**Exemptions:**

In accordance with the Public Utilities Code Section 2827 and D.02-03-057, NEM customer generators are exempt from interconnection application fees, supplemental review fees, costs for distribution upgrades and standby charges. Reporting is provided in accordance with Commission decisions representing socialized NEM costs.

*Please refer to reporting made in accordance with 12-11-005 for NEM related fees.*

1. This number includes Rule 21 applications that indicate a customer is seeking an Export, Non-Export, Inadvertent Export or Multiple Tariff agreements operating in parallel. [↑](#footnote-ref-1)
2. “Initial Review” screens include screens reviewed as part of the Rule 21 Supplemental Review process. [↑](#footnote-ref-2)
3. For purposes of this compliance response and going forward, SCE assumes that “receiving a GIA” should be interpreted as SCE tendering an interconnection agreement to the customer for their review. [↑](#footnote-ref-3)
4. For purposes of this response and going forward, it is assumed that such projects did not go to the Interconnection Agreement phase. In addition, for purposes of this report and going forward, projects that passed Supplemental Review and received a draft Generator Interconnection Agreement and projects that moved into Detailed Study prior to withdrawing are not included in totals. [↑](#footnote-ref-4)
5. For purposes of this report, SCE is excluding from this total Generator Interconnection Agreements that have been drafted but are still in negotiation. [↑](#footnote-ref-5)