|  |
| --- |
| **Safety Incidents Open as of 1-1-2024 and Incidents Reported in 2023** |
|  |
| **Gas Incidents** |
|  |
| **(In Compliance with CA Public Utilities Code Section 911)** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Incident ID (YYYYMMDD-XXXX)** | **Facility Owner** | **Reason for Investigation** | **Facility Type** | **Brief Summary of Incident** | **Open or Closed** |
| 20230105-3477 | PG&E | Gas Loss | Main | Earth movement caused rupture of 4-inch main in San Pablo | Closed |
| 20230109-3478 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20230109-3479 | SoCalGas | Media Coverage | Service Riser | Structure fire in Studio City | Closed |
| 20230109-3480 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20230113-3481 | SoCalGas | Public Attention | Other | Multiple odor complaints in Santa Monica | Closed |
| 20230112-3482 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20230117-3483 | SoCalGas | Public Attention | Other | Multiple odor complaints in Manhattan Beach | Closed |
| 20230118-3484 | SDG&E | Interruption | Valve | Service interruption for multiple customers in Fallbrook | Closed |
| 20230119-3485 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Pedro | Closed |
| 20230128-3486 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Pedro | Closed |
| 20230129-3488 | SDG&E | Media Coverage | Service Riser | Structure fire in El Cajon | Closed |
| 20230203-3489 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230203-3490 | SDG&E | Public Attention | Other | Multiple odor complaints in Encinitas | Closed |
| 20230208-3491 | SoCalGas | Public Attention | Other | Multiple odor complaints in Temecula | Closed |
| 20230210-3492 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lakewood | Closed |
| 20230213-3493 | SoCalGas | Media Coverage | Other | Structure fire in Los Angeles | Closed |
| 20230213-3494 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20230215-3495 | SoCalGas | Media Coverage | Other | Structure fire in Altadena | Closed |
| 20230216-3496 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Luis Obispo | Closed |
| 20230217-3497 | SoCalGas | Interruption | Other | Service interruption for multiple customers in Beaumont | Closed |
| 20230225-3498 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20230227-3499 | SDG&E | Media Coverage | Service Line | Third-party contractor damage to 1/2-inch plastic line in San Diego | Closed |
| 20230227-3500 | PG&E | Media Coverage | Service Line | Electrical equipment failure damaged gas service line in Daly City | Closed |
| 20230228-3501 | SoCalGas | Public Attention | Other | Multiple odor complaints in Costa Mesa | Closed |
| 20230301-3502 | SoCalGas | Media Coverage | Customer Meter | Damage to customer meter in Los Angeles | Closed |
| 20230301-3503 | Prop | Operator Judgement | Other | Structure fire in Bridgeport | Open |
| 20230306-3504 | SDG&E | Public Attention | Other | Multiple odor complaints in Del Mar | Closed |
| 20230307-3505 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20230308-3506 | SoCalGas | Media Coverage | Main | Third-party contractor damage to 4-inch plastic line in Anaheim | Closed |
| 20230305-3507 | Prop | Interruption | Main | Propane leak in Norden | Open |
| 20230309-3508 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20230310-3509 | SoCalGas | Media Coverage | Service Line | Earth movement cause rupture in 3/4-inch steel main in Springville | Closed |
| 20230316-3510 | PG&E | Other | Transmission | Over pressure event in Needles | Closed |
| 20230315-3511 | SDG&E | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in San Diego | Closed |
| 20230317-3512 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230318-3513 | SDG&E | Other | Regulator | Over pressure event in El Cajon | Open |
| 20230323-3514 | SoCalGas | Public Attention | Other | Multiple odor complaints in Sunse Beach | Closed |
| 20230327-3515 | SDG&E | Media Coverage | Service Line | Third-party contractor damage to 1/2-inch plastic line in San Diego | Closed |
| 20230327-3516 | SoCalGas | Public Attention | Other | Multiple odor complaints in Hawthorne | Closed |
| 20230328-3517 | SDG&E | Media Coverage | Customer Pipe | First-party damage to 3/4-inch steel line in San Diego | Open |
| 20230328-3518 | SoCalGas | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in Laguna Beach | Closed |
| 20230329-3519 | PG&E | Operator Judgement | Transmission | Over pressure event in Antioch | Closed |
| 20230401-3520 | Prop | Interruption | Other | Unscheduled release of propane in Mammoth Lake | Open |
| 20230405-3521 | SoCalGas | Interruption | Main | Underpressure event causing outage in Santa Maria | Closed |
| 20230405-3522 | SDG&E | Media Coverage | Service Line | Third-party contractor damage to 1-1/2-inch steel service line in Coronado | Closed |
| 20230409-3523 | SoCalGas | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in Fullerton | Open |
| 20230412-3525 | PG&E | Operator Judgement | Regulator | Over pressure event in Edwards Air Force Base | Open |
| 20230414-3526 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230415-3527 | SoCalGas | Operator Judgement | Regulator | Over pressure event in San Pedro | Open |
| 20230417-3528 | SoCalGas | Public Attention | Other | Multiple odor complaints in Corona | Closed |
| 20230426-3529 | SoCalGas | Public Attention | Other | Multiple odor complaints in La Jolla | Closed |
| 20230502-3530 | SDG&E | Public Attention | Other | Multiple odor complaints in Encinitas | Closed |
| 20230506-3531 | SoCalGas | Public Attention | Other | Multiple odor complaints in Hawthorne | Closed |
| 20230509-3532 | SoCalGas | Public Attention | Other | Multiple odor complaints in Thousand Oaks | Closed |
| 20230515-3533 | PG&E | Operator Judgement | Regulator | Over pressure event in Watsonville | Open |
| 20230517-3534 | PG&E | Operator Judgement | Customer Regulator | Over pressure event in Berkeley | Closed |
| 20230518-3535 | SoCalGas | Public Attention | Other | Multiple odor complaints in Riverside | Closed |
| 20230527-3536 | SDG&E | Public Attention | Other | Multiple odor complaints in La Jolla | Closed |
| 20230530-3537 | SoWEST | Interruption | Service Line | Third-party contractor damage to 1/2-inch PE service line in Victorville | Closed |
| 20230605-3538 | SDG&E | Media Coverage | Main | Third-party contractor damage to 2-inch plastic line in Poway | Closed |
| 20230608-3539 | PG&E | Casualties or Inpatient Hospitalization | Main | Gas release caused injury in San Jose | Open |
| 20230609-3540 | SDG&E | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in San Diego | Closed |
| 20230610-3541 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230610-3542 | SDG&E | Public Attention | Other | Multiple odor complaints in Rancho Santa Fe | Closed |
| 20230611-3543 | SoCalGas | Public Attention | Other | Multiple odor complaints in Bellflower | Closed |
| 20230611-3544 | SDG&E | Public Attention | Other | Multiple odor complaints in Rancho Santa Fe | Closed |
| 20230612-3545 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach | Closed |
| 20230612-3546 | SoCalGas | Other | Other | Multiple odor complaints in Newport Beach | Closed |
| 20230613-3547 | SDG&E | Media Coverage | Service Line | Third-party contractor damage to 3/4-inch steel main in San Diego | Closed |
| 20230613-3548 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach | Closed |
| 20230614-3549 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230614-3550 | SDG&E | Operator Judgement | Transmission | Unscheduled release of gas in El Cajon | Open |
| 20230614-3551 | SDG&E | Public Attention | Other | Multiple odor complaints in Del Mar | Closed |
| 20230615-3552 | SDG&E | Public Attention | Other | Multiple odor complaints in Del Mar | Closed |
| 20230618-3553 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230619-3554 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach | Closed |
| 20230619-3555 | SoCalGas | Media Coverage | Customer Regulator | Vehicle drove into gas meter causing a gas release in Newport Beach | Open |
| 20230620-3556 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20230620-3557 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230620-3558 | SDG&E | Public Attention | Other | Multiple odor complaints in Encinitas | Closed |
| 20230621-3559 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230623-3560 | SDG&E | Media Coverage | Service Line | Third-party contractor damage to 1/2-inch plastic line in San Diego | Closed |
| 20230623-3561 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230626-3562 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230628-3564 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lancaster | Closed |
| 20230630-3565 | SoCalGas | Public Attention | Customer Meter | Multiple odor complaints in Porter Ranch | Closed |
| 20230630-3566 | SDG&E | Public Attention | Other | Multiple odor complaints in Coronado | Closed |
| 20230709-3567 | SoCalGas | Public Attention | Other | Multiple odor complaints in Redondo Beach | Closed |
| 20230711-3568 | SoCalGas | Public Attention | Other | Multiple odor complaints in Palmdale | Closed |
| 20230712-3569 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20230714-3570 | SoCalGas | Interruption | Customer Meter | Underpressure incident in Los Angeles | Closed |
| 20230714-3571 | SoCalGas | Operator Judgement | Main | Water main rupture causing damage to gas line in Sierra Madre | Open |
| 20230714-3572 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach | Closed |
| 20230714-3573 | SDG&E | Media Coverage | Main | Third-party contractor damage to 4-inch steel main in Poway | Closed |
| 20230715-3574 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230717-3575 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Park | Closed |
| 20230717-3576 | SoWEST | Operator Judgement | Main | Third-party contractor damage to 6-inch steel main in Carnelian Bay | Closed |
| 20230718-3577 | SoCalGas | Public Attention | Other | Multiple odor complaints in Costa Mesa | Closed |
| 20230720-3578 | SDG&E | Interruption | Other | Multiple odor complaints in Carlsbad | Closed |
| 20230724-3579 | SDG&E | Media Coverage | Service Line | Third-party contractor damage to 1-inch plastic line in San Diego | Open |
| 20230727-3580 | SDG&E | Public Attention | Other | Multiple odor complaints in Encinitas | Closed |
| 20230803-3581 | SoCalGas | Interruption | Other | Service interruption for multiple customers in Los Angeles | Closed |
| 20230803-3582 | SDG&E | Media Coverage | Service Line | Third-party contractor damage to 1/2-inch plastic line in San Diego | Closed |
| 20230813-3583 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lancaster | Closed |
| 20230816-3584 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20230816-3585 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood | Closed |
| 20230815-3586 | MHP | Media Coverage | Customer Meter | Structure fire in Santa Rosa | Closed |
| 20230821-3587 | SoCalGas | Operator Judgement | Transmission | Earth movement damaged 6-inch line in Desert Hot Springs | Closed |
| 20230820-3588 | SoCalGas | Damages Above 50K | Transmission | Earth movement damaged 16-inch line in Desert Hot Springs | Open |
| 20230823-3589 | SoCalGas | Media Coverage | Other | Unscheduled release of gas in Santa Maria | Open |
| 20230824-3590 | PG&E | Operator Judgement | Service Line | Underpressure event in Modesto | Open |
| 20230830-3591 | SoCalGas | Damages Above 50K | Transmission | Third-party contractor damage to 20 steel line in Lemoore | Closed |
| 20230904-3592 | SoCalGas | Public Attention | Other | Multiple odor complaints in Tarzana | Closed |
| 20230912-3593 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20230914-3594 | SoCalGas | Media Coverage | Main | Pipeline leak from corrosion in Whittier | Open |
| 20230918-3595 | SDG&E | Public Attention | Other | Multiple odor complaints in La Jolla | Closed |
| 20230919-3596 | SoCalGas | Public Attention | Other | Multiple odor complaints in Carson | Closed |
| 20230919-3597 | SDG&E | Public Attention | Other | Multiple odor complaints in Carlsbad | Closed |
| 20230926-3598 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20230926-3599 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20230926-3600 | SoCalGas | Public Attention | Other | Multiple odor complaints in Bell Gardens | Closed |
| 20230926-3601 | SoCalGas | Media Coverage | Main | Third-party contractor damage to 6-inch steel line in South Gate | Closed |
| 20230927-3602 | SoCalGas | Public Attention | Other | Multiple odor complaints in Beverly Hills | Closed |
| 20230927-3603 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20231001-3604 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20231002-3605 | SDG&E | Public Attention | Other | Third-party contractor damage in San Diego | Open |
| 20231003-3606 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lakewood | Closed |
| 20231003-3607 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20231003-3608 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20231004-3609 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20231005-3610 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20231006-3611 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20231013-3612 | SoCalGas | Public Attention | Other | Multiple odor complaints in Pomona | Closed |
| 20231013-3613 | SoCalGas | Gas Loss | Main | Third-party contractor damage to 8-inch steel main in Walnut | Open |
| 20231015-3614 | SoCalGas | Interruption | Customer Meter | Underpressure event due to water in gas line in Delano | Open |
| 20231019-3615 | SoCalGas | Public Attention | Other | Multiple odor complaints in Maywood | Closed |
| 20231019-3616 | SoCalGas | Public Attention | Other | Multiple odor complaints in Whittier | Closed |
| 20231024-3617 | SDG&E | Public Attention | Other | Multiple odor complaints in Escondido | Closed |
| 20231024-3618 | SoCalGas | Interruption | Main | Underpressure event due to water in gas line in Santa Ana | Open |
| 20231028-3619 | SoCalGas | Public Attention | Other | Multiple odor complaints in Palmdale | Closed |
| 20231102-3620 | SoCalGas | Public Attention | Other | Multiple odor complaints in Carson | Closed |
| 20231102-3622 | SoCalGas | Public Attention | Other | Multiple odor complaints in Redondo Beach | Closed |
| 20231103-3623 | SoCalGas | Public Attention | Other | Multiple odor complaints in Irvine | Open |
| 20231107-3624 | SDG&E | Public Attention | Other | Multiple odor complaints in Santee | Closed |
| 20231109-3625 | SDG&E | Media Coverage | Other | Multiple odor complaints in Solana Beach | Closed |
| 20231112-3626 | SoCalGas | Public Attention | Other | Multiple odor complaints in Sunset Beach | Closed |
| 20231117-3627 | SoCalGas | Interruption | Service Line | Underpressure event causing outage in Handford | Open |
| 20231122-3628 | Prop | Interruption | Other | Third-party vandalism caused a gas release in Lake Isabella | Closed |
| 20231128-3629 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lake Elsinore | Closed |
| 20231205-3630 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20231205-3631 | PG&E | Gas Loss | Main | Dig-in incident in Merced | Closed |
| 20231208-3633 | SoCalGas | Casualties or Inpatient Hospitalization | Other | Multiple odor complaints in Torrance | Closed |
| 20231211-3634 | SoCalGas | Public Attention | Other | Multiple odor complaints in Menifee | Closed |
| 20231213-3635 | SoCalGas | Public Attention | Other | Multiple odor complaints in Costa Mesa | Closed |
| 20231214-3636 | SoCalGas | Public Attention | Main | Third-party contractor damage in Irvine | Open |
| 20231215-3637 | SoCalGas | Operator Judgement | Other | Over pressure event in Los Angeles | Open |
| 20231216-3638 | SoCalGas | Damages Above 50K | Transmission | Unscheduled release of gas in Burbank | Open |
| 20231220-3639 | SoCalGas | Operator Judgement | Regulator | Over pressure event in Ontario | Open |
| 20231222-3640 | SDG&E | Media Coverage | Customer Meter | Multiple odor complaints in Carlsbad | Open |
| 20231226-3641 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20231227-3642 | SoCalGas | Public Attention | Other | Multiple odor complaints in Tustin | Closed |
| 20231230-3643 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood | Open |